









[image: image1.jpg]TAYLOR

Leading the Way in Accuracy”




9521 Infrared Thermometer

[image: image2.jpg]



               [image: image3.jpg]



Taylor’s model 9521 Infrared Thermometer measures surface temperatures, without contact.  
· Laser Site & LED Flashlight Technology
· Max and hold features

· F & C Selectable

· CE certified

· NIST Traceable

· Auto shut-off extends battery life

· Resolution: 0.1F or 0.1C
· Response Time:  1 second
· IR Specifications
· Range:  -58/750F; -50/400C

· Accuracy:  + 1.8F/ + 1.0C in HACCP Temperature Ranges
· Distance to Spot Ratio= 9:1

· Emissivity:  0.95 fixed

· Low battery Indicator (includes 2 AAA)

· Includes vinyl carry case w belt loop.

· 1-year warranty
